# Induction Magnetometer

# for Geophysical Applications LEMI-142

Main features:

- High sensitivity

  - Low noise, near the theoretically lowest possible level

  - Frequency band 1 ... 500 kHz

  - Low power consumption

New calculation methodology using minimal mass criterion allowed minimizing the weight, conserving low noise level in wide frequency band. The magnetic feedback design is utilised what provides a stable response of full frequency band. Low noise preamplifier is placed inside the sensor body.

## TECHNICAL SPECIFICATIONS

| Frequency range | 1 ... 500 kHz |
| --- | --- |
| Sensitivity | 25 mV/nT |
| Magnetic noise level | 1,5*10-15 T/ √Hz |
| Length | 310 mm |
| Weight | 250 g |
| Power consumption at ±12 V | 7 mA |